## Slide 1: PXI and CompactPCI for Measurement and Automation
CompactPCI
Notes: This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 2: Overview
Review of PXI and CompactPCI technology
3rd Party Support - PICMG - PXI Systems Alliance
NI PXI products
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 3
Extend
CompactPCI
Price
Performance
Desktop PC
VXI
Modular Instrumentation
for Mainstream Users
Filling the Gap

## Slide 4
PCI electrical specification
Eurocard mechanical specifications
Latest connector technologies
PCI
Eurocard packaging
IEC connectors
CompactPCI
PXI Starts with CompactPCI

## Slide 5
32- and 64-bit data transfers (132/264 MB/sec)
Expansion with PCI-PCI bridges
3.3 volt migration
Plug and Play capability
Wide Industry Support
PCI is the de facto bus standard (PCs, Cardbus, PMC, PC-104+, etc.)
Why PCI?

## Slide 6: Why New Connectors?
High Pin Count
Integrated Shield
Impedance Matched
Defined by IEC-1076
Gas Tight
Most Importantly: MORE SLOTS!
J1
J2

## Slide 7: Backplane Connector Functions
6U
Extension
J2
J1
J5
J4
J3
3U
Core
CompactPCI - 32 Bits 110 Pins
64-Bit and PXI, or Rear I/O 110 Pins
Rear Panel I/O
95 Pins
2nd CompactPCI Bus, Rear Panel I/O,
STD 32, VME, Telecom TDM, or other
220 Pins
3U
6U

## Slide 8: Why Eurocard and IEEE 1101.10?
Proven over decades of use for rugged applications (VME, VXI, etc.)
Readily available mechanical components
Excellent thermal properties
Modular and Compact
Standardized injector/ejector mechanism

## Slide 9: The CompactPCI Specification Body
Part of the PICMG PCI Industrial Computer Manufacturers Group
Originally formed for Slot card PCI
Started with about 15 companies
Now 400+ members
Strong focus on telecom infrastructure
www.picmg.org
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 10
PXI Combines Standard Technologies
CompactPCI
PCI

## Slide 11
Software
Electrical
Mechanical
The PXI system specification
extends CompactPCI for
Instrumentation.
S
Specification
Revision 1.0
August 20, 1997
The Open PXI Specification

## Slide 12
- Eurocard packaging is
- Modular
- Rugged
- Shock/vibration resistant
- PXI adds Active Cooling
- PXI requires Temperature Ratings
- PXI defines system-level environmental specifications
- PXI defines controller to be on left
Mechanical Features

## Slide 13: PXI/CompactPCI Form Factors
All 3U cards work in 6U systems
64-bit PCI and
PXI Features
3U
PXI/CPCI
J1
J2
32-bit PCI
6U
PXI/CPCI
J5
J4
J3
J2
J1
64-bit PCI and
PXI Features
32-bit PCI
PXI Reserved
PXI Reserved
PXI Reserved
6U Adapter Panel

## Slide 14
Controllers MUST Support a SW Framework: - Windows NT - Windows 95/98
Peripherals MUST be supplied with a WIN32 Device Driver.
Software Features

## Slide 15
NTvision System:
- PXI-8156/NT
- PXI-1000
- Multiple PXI-1408s
- PXI-DAQ Optional
“We ported from a desktop PC to PXI
without changing any code" - Len Burczyk,
Los Alamos National Laboratories
Porting from PCs to PXI
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 16
Trigger Bus
System
Controller
Star Trigger
Controller
Peripheral
Peripheral
Peripheral
10 MHz
CLK
132 Mb/s, 33 MHz, 32-bit Computer Bus
Star Trigger
Local
Bus
Electrical Features

## Slide 17
Local Bus Triggers Clock Star Bus
VXI 12 lines 8 TTL, 2 ECL 10 MHz ECL D-size only
PXI 13 lines 8 TTL 10 MHz TTL 1 per slot
PXI Leverages VXI Features

## Slide 18: Modules Synchronize with the PXI Trigger Bus
PXI-6070E
NI 5102
PXI-6533
Start Scan
RTSI Oscillator
Multifunction I/O
Oscilloscope
Digital I/O

## Slide 19: Instruments use the PXI Trigger Bus for Handshaking
NI 4060
NI 2501
NI 2503
Volt Meter Complete
Scan Advance
SCAN_ADVD
Output
TRIG
Input
VMC
Output
TRIG
Input
Digital Multimeter
Switch Multiplexers
from NI, ASCOR...

## Slide 20: The PXI Specification Body
Charter of this multivendor group is to: - Promote PXI - Ensure Interoperability - Control the PXI Specification
Focus on end-user success
Over 50 multinational company members
www.pxisa.org
Systems Alliance

## Slide 21: PXI Systems Alliance Members
GenRad
Gespac
Goepel Electronic
GDE Systems (Marconi)
GTE-ERS
Innovative Integration
KineticSystems
LeCroy
MAC Panel
MEN Mikro Elektronik
Talon Instruments
Acqiris
Advanced Power Designs
Advanced Test Methods
Alphi Technology
AMP
Analogic
ASCOR
ARVOO Engineering
ATEME
A&T Engineering Tech. Ctr.
B&B Technologies
BittWare Research Systems
Bode Enterprises
BRIME
C&H Technologies
CHROMA ATE
Data Patterns
Dateppli
Datum
Dolch Computer Systems
National Instruments
Pickering Interfaces
PX Instrument Tech.
Racal Instruments
Quantum Controls
SBS GreenSpring
Shaanxi HiTech
Spincraft Engineering
SRC
TestWare
Tracewell Systems
TTI Testron
Vero Electronics (APW)
Virginia Panel Corp.
ZYNX
Schroff
Marek Micro
ERNI
Ballard Technology

## Slide 22: Flexible Installations

## Slide 23
MXI
GPIB
VXI orVME
Stand-alone
Instrument
PXI System
Modules
Modules
CompactPCI
PXI Works with Other Standards
MXI-3

## Slide 24: PXI is for the Whole Enterprise
Portable, bench top, and rack-mount in:
Test and Measurement
Data Acquisition
Industrial Automation

## Slide 25: NI PXI/CompactPCI Products
PXI Controller
PXI-8150B and MXI-3
INTERFACES:
GPIB
SCSI+Enet
PCMCIA
CAN + DeviceNET
RS-232
RS-485
50+ PXI Modules
DATA ACQ. & CONTROL:
RT Series
Multifunction I/O
Digital I/O
Analog Output
Image Acquisition
Motion Control
Counter/Timers
INSTRUMENTS:
Oscilloscopes
Digital Multimeters
Arbitrary Waveform Generator
Temperature Meter
Switch Multiplexers
Serial Data Analyzers
MXI-2 Kits for VXI/VME
PXI and PXI/SCXI Chassis
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 26: Multisystem Extension Interface for PCs and PXI/CompactPCI
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 27: MXI-3 Architecture
MXI-3
Serial I/F
MXI-3
High Speed Serial Link
1.5 GHz
Primary
Secondary
PCI-to-PCI Bridge
Still Software Transparent!
Serial I/F
PCI
CompactPCI
PCI 1
PCI 0
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 28: MXI-3 Configurations
PCI to PXI/CompactPCI
PXI/CompactPCI
to PXI/CompactPCI
Cabling:
Copper (up to 10 m)
or
Fiber Optic (up to 200 m)
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 29: MXI-3 Benefits
More slots for PCs and PXI/CompactPCI
Very high performance serial link
Easy to integrate -- software transparent
Short and L O N G distances
Low cost
Notes: <number>
<footer>
<header>
<date/time>
This presentation will briefly review what PXI is at a high level. A more detailed description of PXI can be found in the specification itself available at www.natinst.com/pxi
After going over the basics of PXI, the presentation will cover National Instruments’ current product offering with highlights of the newest products. Finally, the PXI Systems Alliance will be introduced. A variety of member companies will then introduce themselves and briefly describe their products and services.

## Slide 30: PXI with RT Series Modules
Real time with LabVIEW RT
16-bit and 12-bit Multifunction I/O
Digital I/O
PXI-7030 Series

## Slide 31: New Chassis Products
PXI-1020
Built-in 6.4” LCD
CD-ROM
Pointing device
AC and DC power input
PXI-1000 DC
10-32 VDC input
Additional AC input
Battery backup option
PXI-1025 MegaPAC
Large 10.4” built-in LCD
CD-ROM
Pointing device + keyboard
AC/DC supply

## Slide 32: New PXI Controllers
PXI-8155B
  Connections for PXI-1020 and PXI-1025
  Pentium 233 MHz or AMD-K6-2 333 MHz
  Watchdog timer
  Faster performance
  4 GB Ultra-DMA Hard Drive
  Synchronous DRAM (up to 256 MB)
PXI-8156B
  8155B features plus Ethernet, GPIB, and 2nd serial port

## Slide 33: PXI Configurator -- Online!
POINT:
  www.natinst.com/pxiconfig
CLICK:
  choose chassis
  choose controller
  choose modules
CONFIGURE:
  place modules in slots
  select accessories
  review the online price quote
  order complete systems online!
www.natinst.com/pxiconfig

## Slide 34: PXI/CompactPCI Products from Other Vendors
CPCI-1553B
CPCI-1394
CPCI-AD16
PCIADC-32
CAD16
PCIMVR-8
CPCI-718
CPCI-DA16
PCIDAC-2
ATM-6515
VM-Bus Analyzer
CPCI-DIO
PCICIO-12
Sensoray DIO
CPCI-DSP31-3
Snaggletooth CPCI
cADC64
ZT6990
IP 202-2
ETH2696A
PCILAN-1
2320C3
2340C3
Prolog 8370
ZT 6650
2200C3, FDDI
PT-CPC470
Fibre 6526
ZT 6610
Sensoray 711
CPCI-IP
PCIIPC
CSIPC
CPCI-DSC31
CPCI-16-1
ZT 6670
CPCI-ADDA
CPMC1
PCIWWB-1
Prolog 8380
Densan SCSI III
ZT 6660
CPC370PQ T1/E1
PCITCD-8
CVME3/6
CPC334
CPC338PQ WAN
www.picmg.org
www.pxisa.org