## Slide 1: Oscilloscopes
Michael Enz
Software Engineer
Thurs Aug 17
10:15-11:30 a.m., 12:00-1:15 p.m., 1:45-3:00 p.m., 3:30-4:45 p.m.
Exhibit (3E)

## Slide 2: User Defined Measurements
NI-Scope 1.6 delivers more than 60 scalar and 20 array measurements
Customizable frequency domain measurements
  Selection of digital filters and windows provided
Full set of time domain measurements
  More than 60 measurements
Time and voltage histogram measurements
  Voltage amplitude/distortion analysis
  Pulse width jitter analysis

## Slide 3: Digitizers/Scopes for NI-Scope
Model | Channels | Sampling rate | Bandwidth | Resolution (bits)
NI 5102 | 2 | 20 MS/s | 15 MHz | 8
NI 5112 | 2 | 100 MS/s | 100 MHz | 8
NI 5911 (Flex Scope) | 1 | 100 MS/s | 100 MHz | 8-21

## Slide 4: Activity 1
Windowed FFT measurements
  Learn how to use the right window for your FFT measurements
  Learn about the effects of spectral leakage in your digitized waveform measurements
  Discover how waveform record length affects your FTT measurements

## Slide 5: Activity 2
Digital filtering
  Learn how to use the right filter for your spectrum measurements
  Discover the difference between IIR and FIR filters
  Learn how the order of the IIR and the tap number of the FIF filters make a difference
  Learn how to set up lowpass, highpass, bandpass, bandstop filters in NI-Scope

## Slide 6: Activity 3
Time histograms
  Learn how to set up the parameters for time histogram measurements of your data
  Learn how to set up time histograms to analyze pulse width noise or jitter

## Slide 7: Activity 4
Voltage histograms
  Learn how to set up the parameters for voltage histogram measurements of your data
  Learn how to set up voltage histograms to analyze pulse height distortion