## Slide 1: Emerging Technologies for Automotive Applications
Dave Wilson
Automotive Marketing Director
Wed Aug 16
10:15-11:30 a.m.
Lavaca (6B)

## Slide 2: The Automotive Enterprise
Engineering
R&D
Verification
Validation
Manufacturing
Service
Purchasing
Notes: Virtual Instrumentation applies to all aspects of the automotive enterprise.

## Slide 3: Automotive Industry Trends
Mechanical test
ECUs
Individual test
Conventional fuel
Simulation
Telematics/ECU
Data re-use
Alternative fuel
Current
Future
Reduced testing
Increase electronic
content
Modular hardware
components
Reduced emissions
Trends
Notes: Trends in the automotive industry are changing the way manufacturers have to test.
Mechanical test is being supplemented with simulation.
Increased electronic content includes the combination of telecommunication technologies with vehicle electronics creating a new set of test requirements. PC based test and integration of I/O components will be required.
Data re-use is becoming important as different automotive platforms share identical components. Networked measurements play an important role in facilitating this need.
Increasing emission reductions standards require research and automated testing in changing from conventional to alternative fuels.

## Slide 4: New Technologies for Automotive
Real-time control
Analysis
Vision
Portable computing
Internet
Data re-use
Notes: A variety of new technologies and offerings are making virtual instrumentation a standard practice for automotive test.

## Slide 5: Frequency vs. Resolution
Notes: In addition to redefining the definition of the market, we are also redefining the way engineers and scientists view measurement devices. If we try to design all of our products in terms created and defined by traditional vendors, then we face a tough challenge.
This is why we talk so much about Frequency vs. Resolution. You can break down almost every measurement device in these terms. And these are terms with which we are very familiar. It’s how you have successfully sold over $100M in data acquisition products. Again, the key is that we let the software define the measurement functions, whether they want a scope, a meter, a counter, a DAQ board, or more importantly, an instrument that’s never been created before by a traditional instrument vendor.
This chart also shows the tremendous progress we’ve made with our products versus traditional instruments. The momentum is on our side. We are able to get products to market quicker. We can react more quickly to technology advancements.

## Slide 6: Real Time for Automotive
Notes: We are rolling out an extensive RT marketing campaign.
We started a new ad last month, targeting small scale industry direct mails, with another planned soon for the PXI controller. We have redesigned Web pages, with updates for the controller updates in March. In addition, we launched LabVIEW Everywhere at NIWeek, with an RT roadmap that scales development across many targets – this coverage appeared worldwide in conjunction with NIWeek. We also went on several press tours this winter to secure coverage for the RT controller starting in March. We have major press events at SAE and National Manufacturing Week, with demos featuring RT.
Your tools for RT include updated brochures and white papers for March, a modular seminar, now in the vault, the Web site, updated FAQ, new videos, and revamped demos. All of these tools can be found in the Vault on the internal web.
The campaign centered around LabVIEW RT because the software is what makes us unique among the competition in every segment of the real-time measurement and automation market. LabVIEW RT makes real-time easy.

## Slide 7: Real-Time – Block Cycle Controller
Advanced generation
One board – AO6
Replaces high-cost system
LabVIEW™

## Slide 8: Block Cycle Code

## Slide 9: Real-Time – Dynamometer Control
LabVIEW
DAQ
MIO
Real-time control
40 Hz updates

## Slide 10: Real-Time – Dyno Control

## Slide 11: Real-Time – Dyno Control

## Slide 12: Real-Time – Terrain Player

## Slide 13: Terrain Generator Code

## Slide 14: Analysis – Engine Knock Detection
DSA board
  2 ch/20kS/s
LabVIEW
One computer
Automated
Notes: In research, engine knock detection is performed by applying DSA hardware, LabVIEW, and wavelet analysis technologies. Pictured is an engine in a dynamometer.

## Slide 15: Analysis – Transient Detector - Wavelets

## Slide 16: Wavelet Analysis

## Slide 17: Running Quickly – Start-Up Kits
Notes: Start-Up kits are a way to take standard components and get them running quickly in specific application. They include:
- Example code that you can run right away
- Suggested hardware components in an included data sheet
- Set up instructions

## Slide 18: AVIX – The Auto VI Exchange
Notes: Start-up kits are available on the NI Web page at ni.com/automotive/autovi_exchange.htm

## Slide 19: Vision – Telematics Production Test
Notes: This is a telematics tester. Telematics are the combination of a normal car stereo, CD player or tape, cell phone, GSM, GPS, and LCD display. Testing these units is done with virtual instrumentation. VI covers all of the simulation and monitoring as well as the image acquisition inspection.

## Slide 20: Production – Automated Test
60kS/s AO
  6 channels
25kS/s AI
  12 ch 2kS/s
  50 ch 10S/s
1 computer
Notes: ECU production test includes simulation and monitoring. This application uses an AO board and an MIO board. The AO board generates analog output signals that simulate crank shaft, cam shaft, throttle position sensor and manifold absolute pressure. The ECU responds to these signals. This response is monitored by the MIO board.

## Slide 21: Verification and Service – In-vehicle
Put the Computer in the Vehicle
Notes: Because vehicle testing is complex, it is becoming compelling to put the PC in the vehicle. This allows for all of the necessary integration and flexibility inside the car.

## Slide 22: The Automotive Test Platform
Notes: In PXI, a special star trigger slot is defined to provide an independent dedicated line for each of up to 13 peripheral slots on a single backplane. You can use a PXI star trigger controller to control, monitor, or route triggers among peripheral slots with extremely low skew (within 1 nanosecond).
The PXI star trigger offers ultra-high performance synchronization capability to users of PXI systems. The star trigger addresses the same general triggering and synchronization problems that the trigger bus does. The key difference is that the star triggers offer a dedicated timing and triggering resource per slot while the trigger bus is a system wide shared resource. Each instrument is guaranteed a unique trigger line in a PXI system by connecting to a single pin. This allows each trigger to occur at a unique time which may not be possible if all the bused triggers are used in a large system. The point-to-point nature of the star trigger is similar to the functions of stand alone instruments with a trigger input or output connection.
The primary advantage of the star trigger versus the trigger bus is higher performance. The propagation delay matching attribute of the star trigger signals supports higher performance than possible with the bused triggers.
The NI 5112 Oscilloscope for PXI is designed to act as a star trigger master or slave. Using this technology, users can combine multiple NI 5112 digitizers, each with two channels, to create high channel count, high speed measurement systems.

## Slide 23
LabVIEW
FieldPoint™
PDA
Chip
PXI
PC
RT series board
Industrial computer
Workstation
Notes: This year we’re addressing several of the key weak points identified in addition to expanding into new application areas.
We announced RT running on the PXI controller March 1. This addressed our channel count issues, standardization on the Pentium platform, faster loop rates, more loops. It is also a distributed, headless embedded real-time system. The controller controls a chassis full of data acquisition in real-time. At NIWeek, we launch the FP 2000, Ethernet FieldPoint module that runs RT. Now we’ve extended RT to run in small rugged distributed modules that can do intelligent control independently from the host.
In addition to new real-time targets, we continue to investigate and support Microsoft technologies for embedded solutions. For example, we can target the industrial computer with Windows NT Embedded (NTE) support. We are releasing KDF files (component definition files) with NI-DAQ 6.7. These files help system integrators and OEMs build Windows NTE systems with our data acquisition hardware. LabVIEW already runs on NTE without issues.
We do want to target handhelds in the near future, but not necessarily with RT. LabVIEW can scale your development from desktop to real-time to handhelds – and you don’t have to learn anything new!

## Slide 24: Networked Measurements
N
N
N
N
Ethernet
N
N
N
N
Serial
(RS-485)
N
N
N
N
Wireless
Internet
N
N
N
N
Ethernet I/O
Distributed NI-DAQ™
PXI Real-time
Web browsers
Data collection, analysis,
archiving, publishing
Notes: You can now easily distribute measurements over the entire Enterprise. Technologies like LabVIEW RT, FieldPoint, and RDA, quickly distribute measurements and give you access anywhere.

## Slide 25: Data Re-use and Post Analysis – DIAdem
Notes: DIAdem provides post acquisition and analysis along with data re-use. This package combines graphical programming and extensive libraries for automotive specific applications. These libraries include:
- DIAdem Clip
- DIAdem Crashbase
- DIAdem Insight

## Slide 26
Notes: At National Instruments, we have always seen you, the end-user, as the one to define instruments. We see instruments as more than just DMMs, scopes and function generators. When you think about it, those traditional instruments are the manufacturer's best guess at what your measurement needs are; but computer-based measurements and automation are more about solutions.
The measurement revolution is about leveraging the PC. It's about bringing measurements to the computer and then automating those measurements. It's about leveraging the PC to lower your costs, speed your performance and integrate many technologies for free.
It is the PC that has really driven the progress over the last decade in terms of measurement and automation. In fact, it's estimated that in the next 20 years PCs will match the processing power of the human brain, 20 million billion calculations per second, so there is plenty of room to grow. In addition, the PCs also get smaller in size, so you will see smaller PC measurement solutions, on Palm Pilot type devices, and even farther out, in intelligent transducers themselves.