## Slide 1: Computer-Based Control and Automation of Semiconductor Process Equipment
Karl Theis
Theis Enterprises
Thurs Aug 17
3:30-4:45 p.m.
Lavaca (6B)

## Slide 2: Trends in the Semiconductor Process Control Industry
Shift to cost-to-test factors
Movement to commercial off the shelf tools
Standard connectivity
Higher versatility
Improved process control functions
Notes: The semiconductor industry is seeing a shift from time-to-market to cost to test. This is driving the adoption of commercial off the shelf tools. Modular configurations reduce the cost and increase the versatility of applications in the process control industry.

## Slide 3: Example of a Semiconductor Tool
Etch machine example
Functions
Features
Notes: Semiconductor tools are typically large-scale devices (sometimes filling an entire room) performing specific functions in the life cycle of the semiconductor development. One example, the etch machine, follows the lithography process and burns the mask into the semiconductor surface.

## Slide 4: Traditional Process Control Setup
Obsolete technology
Chart recorder
Slow
No extensions
Life cycle issue
Cryptic fault message
Notes: Traditional semiconductor process control machines are based on older technologies, including paper chart recorders. They are slow and built on proprietary architectures, making them difficult to upgrade. The interfacing provides cryptic fault messages.

## Slide 5: Requirements for Next Generation Tools
Modern PC-based technology
Pentium processor power
Sophisticated process data logging
Diagnostic functions built in
Remote diagnosis
Yield improvements
Connectivity
Notes: The next generation semiconductor process tools are based on modern PC-based technology. Pentium processors power many currently developed machines. This provides sophisticated process data logging, and more sophisticated data logging and diagnostic tools. This leads to yield improvements and better connectivity.

## Slide 6: Example Semiconductor Application
Plasma etcher
Data acquisition
Real time control
Downtime reduction
Process time gain
LabVIEW™ based software
Retrofittable unit
Notes: A plasma etcher is shown above as an example of a modern day semiconductor tool. A PC-based control system using LabVIEW provides data acquisition and real-time control. With a software based system, extensions are possible.

## Slide 7: ACCS Controller
Leading edge
Data to files
Fast
Line of accessories
Unlimited life
Non-cryptic
Notes: The ACCS Controller is based on LabVIEW. It provides a fast control mechanism. In addition, it also gives a common file format to the data. The more friendly interface provides non-cryptic messaging.

## Slide 8: Other Applications
All etchers
Metallization
Implantation
Non-semiconductor industries
Digital system interface
Notes: The ACCS can be applied to other applications including etchers, metallization, and implantation tools.

## Slide 9: Screenshot Machine
Notes: A graphical depiction of the etch machine.

## Slide 10: Screenshot ACCS (I)
Notes: Graphical displays show the status of the plasma etching device.

## Slide 11: Screenshot ACCS (II)
Notes: System configuration and setup screens supply easy access to the etch machine.

## Slide 12: Process Analysis
Data gathering
Analysis
Interpretation
Trend tracking
Trouble shooting
Communication
Notes: Process analysis begins with data gathering. The data is analyzed and interpreted for trends. With this information, you can troubleshoot problems with the devices under test. Finally, the test results can be stored on a central database.

## Slide 13: PA-2 Screenshot
Notes: The screen shot above provides a graphical view of the test results.

## Slide 14: Features of a PA-2
Pentium CPU
4000k wafer storage
Excel file graphs
16 channel display
1-50 Hz sample rate
Laptop version available
SECS II compatible
Notes: The PA-2 system offers a 16-channel display with a sampling rate up to 50 Hz, and works with SECS II protocols.

## Slide 15: Summary
Higher throughput
Better yield
Less downtime
Improved process
Connectivity
Versatility
Notes: In summary, the use of computer-based controls on semiconductor process control equipment yields higher throughput and less downtime. This improves the yield and overall process.

## Slide 16: For Further Information
Phoenix Data & Control Inc.
Phone (480) 966-4040
Fax (480) 966-6758
Web www.phxdac.com