## Slide 1: LabVIEW™ and Subject Monitoring – Virtual Bio-Instrumentation (VBI) Integrating Biomedical Experimentation with Research-Quality Analysis
Jon B. Olansen, Ph.D.
Flight Crew Engineer, Astronaut Office
United Space Alliance
NASA / Johnson Space Center
Fri Aug 18
10:15-11:30 a.m.
San Jacinto (5B)

## Slide 2: Introduction
Research motivation
Cardiovascular hemodynamics
Pulmonary mechanics
Integrated cardiopulmonary dynamics
Conclusions
Physiology overview
Model development
Simulation and results
}

## Slide 3: Role of Virtual Instrumentation
User-friendly GUI for experiments and analysis
Modular development scheme
Flexibility/adaptability
Notes: This biomedical experimentation and analysis presentation is representative of the types of tools that you can develop with virtual instrumentation. Additionally, virtual instrumentation (particularly LabVIEW) provides numerous advantages compared to other data acquisition (DAQ) and modeling environments, including significant flexibility and the adaptability to migrate among various application fields.

## Slide 4: Biomedical Fields for DAQ
Common mechanical stimuli
  Pressures, flows, temperatures
Biopotentials
  ECG, EMG, ERG, EEG, ENG, etc
  V/mV levels, > 20 kHz sample rate
Imaging techniques
  Echocardiogram, blood vessel contraction
  Edge detection, microscopic imaging
Clinical instrumentation
  Acquisition from existing equipment (mostly serial)
Notes: There are numerous types of biomedical instrumentation available for DAQ. These include the standard mechanical and electrical stimuli. Additionally, within the medical environment, there is the increasing influence of digital signal processing in the form of advanced imaging techniques. Even with these advances, however, serial communication still forms the backbone for most medical equipment connectivity.

## Slide 5: Far-Reaching Applications
Rotating chair vestibular experiment
Notes: Biomedical instrumentation and subject monitoring are not limited to terrestrial applications. Life science research important as human space flight evolves. Scientists conduct many experiments are conducted aboard the space shuttle and are planned for the International Space Station. This photograph depicts a vestibular experiment in which a subject sits in a rotating chair and has numerous physiologic functions monitored including eye motion through the use of an eye tracking device.

## Slide 6: Far-Reaching Applications
Virtual reality visio-vestibular experiment
Notes: This is a variation on the rotating chair in which virtual reality defines the visual field.

## Slide 7: Far-Reaching Applications
Sleep studies with Sen. John Glenn
Notes: Studies of sleep patterns and phenomena are common on earth, but take on additional complexity in space. This picture shows Sen. John Glenn instrumented for his sleep study during the STS-95 shuttle flight. Data from these on-orbit studies was compared to data collected on the ground at Brigham and Women’s Hospital in Boston.
Scientists can develop all of these space-based applications within the virtual instrumentation framework. Many scientists are migrating toward virtual instrumentation for follow-on studies aboard the international space station (ISS).

## Slide 8: VBI Research Motivation
To advance the state-of-the-art in biomedical research
  Using virtual instrumentation to modernize experiment development
  Integrating experimentation with modeling/analysis as complete package
Chosen focus – cardiopulmonary system
To enhance current understanding of cardiopulmonary function in health and disease
To complement current investigative methods in cardiopulmonary research
  Human clinical trials and therapies  system level research
  Animal (e.g. dogs, rats) experiments  basic research (invasive)

## Slide 9: Cardiovascular Physiology
The heart (anterior view)
The heart (posterior view)
Circulatory loop
Notes: Discussion of cardiovascular and cardiac physiology.

## Slide 10: Cardiovascular Modeling
Right to left ventricular interaction
Functional volumes
Mass balances
Notes: Mathematical representation of cardiac physiology.

## Slide 11: Cardiovascular Physiology
Electrical activity
Notes: Cardiac electrophysiology discussion.

## Slide 12: Cardiovascular Physiology
Mechanical events
Pressure-volume (P-V) loop analysis
Notes: Discussion and common clinical representation of cardiac mechanics.

## Slide 13: Cardiovascular Modeling
Heart chamber elastance characterization
P-V relationships
Activation function
  Ventricles: n = 4
  Atria: n = 1
Atrial
Ventricular
Notes: Mathematical representation of both cardiac mechanics and cardiac electrophysiology.

## Slide 14: Results – Pericardial Influence
Pericardectomy
  Free walls more compliant
  Decouples chambers
   EDVs   ESPs
  SV, CO 
Cardiac tamponade
   restriction of free wall motion
   EDVs   ESPs
  SV, CO 
Notes: This slide depicts typical cardiac mechanics results from a mathematical simulation and demonstrates the common use of Pressure-Volume curves to depict cardiac function.

## Slide 15: Hemodynamic Data Acquisition
Mobile LabVIEW platform
  266MHz laptop
  NI DAQCard
  500 Hz sample rate
Pressure data obtained around circulatory loop
Transducer location verified via X-ray imaging
Data collected using BioBench™
Notes: BioBench is an optimal tool for collecting relatively low rate physiologic data. Cardiopulmonary data acquisition can be readily performed with this standalone LabVIEW derivative. Thus, efforts can be rightly focused on the physiologic implementation of the experiment at hand, rather than the DAQ setup.

## Slide 16: Cardiovascular Modeling
Closed-loop circulation
Notes: Mathematical representation of the circulatory loop, simulating closed loop operation with a series of resistive, compliant, and inertial components.

## Slide 17: Cardiovascular Hemodynamics
Notes: This data depicts the adequacy of the mathematical model developed to represent the cardiovascular system of a dog. Note that the pressures all the way around the circulatory loop are relatively accurate.

## Slide 18: Cardiovascular Parameter Estimation
  Online parameter sensitivity analysis
  Levenberg-Marquardt algorithm
Notes: Improving on the accuracy of the model enables the results to be directly associated with the subject being studied. We can accomplished this by using a parameter estimation scheme, in this case a multi-dimensional Levenberg-Marquardt algorithm, which effectively minimizes the difference between the actual data and the model output.

## Slide 19: Results – Timing Effects
Left bundle branch block
  Delayed LV activation
  Transient PSPT reversal
  Abnormal septal motion
  Minor hemodynamic impact
Heart rate
  Significant hemodynamic effects
  Constant for simulations
  Match experimental HR for parameter estimation
Notes: Once we define the model parameters, we can conduct simulations of various pathophysiologies and relate them to the initial subject. The CardioPV VI runs to demonstrate the capabilities of the model. Example pathophysiologies include cardiac tamponade, artherosclerosis, tachycardia, and several others.

## Slide 20: Pulmonary Physiology
Respiratory system
Airway Tree
primary
bronchi
secondary
bronchi
tertiary
bronchi
bronchioles
terminal
bronchioles
Lung anatomy
superior
lobes
oblique
fissure
middle
lobe
inferior
lobes
thyroid
cartilage
trachea
Notes: Discussion of pulmonary physiology.

## Slide 21: Pulmonary Modeling
Functional volumes
Equations of motion
Notes: Mathematical representation of airway mechanics.

## Slide 22: Pulmonary Physiology
Respiratory System
Lung Volume Divisions
Notes: Typical clinical measures of lung volume.

## Slide 23: Pulmonary Data Acquisition
Classical Pulmonary Function Testing
Notes: Clinical Pulmonary Function Testing (PFT) is a common means of determining the functional capacity of a persons’ lungs/airways. Measurements include not only flows and pressures, but expired gas concentrations as well. PFT’s are carried out using spirometry or plethysmography. Modern manufacturers of this equipment are increasingly incorporating aspects of virtual instrumentation in their development.

## Slide 24: Pulmonary Data Acquisition
Unique Pulmonary Function Testing
Notes: Spirometry is a readily available methodology for assessing alterations in lung function due to shifts in body fluids and cardiopulmonary function during spaceflight as well.

## Slide 25: Lung Tissue Parameter Estimation
  Online Parameter Sensitivity Analysis
  Levenberg-Marquardt Algorithm
Notes: The adaptability of virtual instrumentation is evident here in the use again of Levenberg-Marquardt to identify the parameters of a lung tissue viscoelastance model. This research also required modification of the plethysmograph to enable assessment of the lung tissue proper. The PFT Vis showed earlier were eaqsily adapted to acquire and analyze the modified data stream.

## Slide 26: Full Model Parameter Estimation
Notes: And again, the use of Levenberg-Marquardt to assess the full dynamic range of the airway mechanics model during a forced vital capacity (FVC) maneuver. By running the model, we demonstrate the various breathiing patterns that can be assessed and the results the model is able to predict.

## Slide 27: CardioPulmonary Physiology
Notes: Discussion of physiologic integration of cardiovascular and pulmonary systems.

## Slide 28: CardioPulmonary Data Acquisition
LBNP & Pulmonary Function Testing in Space
Notes: Use of the Lower Body Negative Pressure (LBNP) device (designed to draw body fluids back down into the lower extremities and stress the cardiac function) in conjunction with the spirometry unit enables researches to investigate the influences of one physiologic subsystem on another.

## Slide 29: Cardiopulmonary Integration
  Thoracic vessels (aorta, vena cava, large pulm vessels) susceptible to PPL variations
  Pulmonary arterioles, capillaries & venules affected by PALV variations
  RPC dependent on VALV :
Notes: We can simulate that same integration by combining the mathematical models of the cardiovascular and pulmonary systems presented earlier. This leads to a model output that obviously shows fluctuation in cardiovascular pressures as a result of breathing.

## Slide 30: Results: Forced Vital Capacity (FVC)
Forced Expiration:
  RV & LV EDV  greatly; ESP s are direct result
  6-7 beats to essentially stop flow from heart
  Blood pools in systemic venous reservoir with  thoracic pressures
Deep Inspiration:
  Rapid filling of ventricles, particularly RV
  Demonstrates Starling mechanism
Notes: Performing a forced vital capacity maneuver shown how dramatic the influence of the pulmonary system can be, effectively shutting off blood flow after 6-7 heartbeats, even though the heart continues to beat.
Running the model shows additional capabilities available within this framework including assessing the impact of ventilating a patient.

## Slide 31: Conclusions
Systems-Level Modeling
  The identified cardiovascular and airway mechanics models produce realistic, continuous waveforms representative of cardiac, circulatory and pulmonary dynamics, for either canine or human research
  The models delineated above have been integrated to further pursue the effects of cardiopulmonary interaction
Physiological Analysis
  The control simulations serve as a basis for study of pathophysiological states and the impact of direct and series ventricular interaction
  Assessment of various clinical interventions of the pulmonary system and their concomitant effects on cardiovascular hemodynamics
Virtual Instrumentation
  Developed programs serve as virtual testbeds for assessing the global effects of localized mechanical or hemodynamic alterations
  Demonstrates the potential for data acquisition, data analysis, and model development all within the framework of virtual instrumentation.