## Slide 1: for Linux TM
Craig Smith
Software Engineer, LabVIEW R&D
Fri Aug 18
1:45-3:00 p.m.
Red River (4B)
Notes: This presentation introduces the Linux operating system and shows how LabVIEW for Linux/x86 and National Instruments hardware can be used for instrument control and measurement under Linux.

## Slide 2: What is Linux?
Full-featured POSIX-compliant UNIX clone
Started in 1991 by Linus Torvalds at University of Helsinki
Thousands of contributors world-wide, managed by a small hierarchy of kernel developers
Growing rapidly
Notes: Linux (pronounced LIH-nucks) is a full-featured freely-distributable UNIX clone available for the x86, PowerPC, Sparc, Alpha, MIPS, and 680x0 architectures. It is an implementation of the POSIX specification with which all major UNIX vendors comply.
Linux was originally written from scratch by Linus Torvalds in 1991, then a graduate student at the University of Helsinki. It has since been contributed to by thousands of developers world-wide, and is possibly the largest collaborative software project ever.
Linux is released under the GNU Public License (GPL). Its source code is freely available, and can be freely modified as long as those modifications are also made freely available.
The Linux kernel is usually bundled with software binaries which comprise a complete UNIX-like system, including networking software, development tools, various utilities, and a graphical user interface. These bundles are called distributions, and come in a variety of configurations from different vendors. They can generally be downloaded for free, or more commonly purchased with value-added components and support for less than $100.

## Slide 3: Linux OS Features
Protected address space
Shared dyanmic link libraries (DLLs) with versioning
Advanced file system
Modular, dynamically-loadable device drivers
Multi-threaded and SMP-capable
Multi-user
Comprehensive networking features
Notes: Linux has all the features you expect from any modern multi-tasking operating system.
Linux gives each application a protected address space, so a single misbehaving program cannot crash the entire system. It supports virtual memory, copy-on-write, and demand-loading.
Linux supports shared libraries (like Windows DLLs), allowing multiple programs to share code. It also implements a versioning scheme to keep programs which require different versions of the same library from conflicting with each other.
Linux has modular device drivers which can be loaded and unloaded without rebooting the system.
Linux, as of kernel version 2.2, is capable of symmetric multi-processing and scales well to four processors.
Linux supports TCP/IP, UDP/IP, X.25, IPX, Appletalk, ISDN, PPP, and many other network protocols. It works well as a Web and FTP server, and even as a Windows (SMB) fileserver using Samba.

## Slide 4: Why Linux?
Robust and reliable
Functionality and remote administration/display of UNIX/X-Windows on low-cost hardware
Source code freely available
  easily adaptable for custom projects
  possible to find and fix bugs yourself
Support available via the Web or numerous commercial vendors
Notes: Linux has a reputation for being robust, and is known to stay up for months at a time without crashing or becoming unstable.
Like most UNIX variants, Linux is multi-user, supports multiple simultaneous logins, and can be remotely administered. The X Windows system inherently allows all applications to be run on a remote display over the network.
Linux runs on everyday 80x86 PCs and consumes minimal resources, so it can bring old computers new life.
Since the source code is available, it is readily adaptable for custom projects. For example, there are projects such as real-time Linux, Linux for VME-based systems, and ports of Linux to embedded systems and handheld computers such as the Palm Pilot.
Support is available from many independent vendors. It is also easy to find solutions to problems via the Web or Usenet newsgroups.

## Slide 5: What is Open Source?
Free redistribution
Source code available; distribution allowed in source or compiler form
Derived works are allowed, and can be distributed under same license as original
Complete open source definition at opensource.org/osd.html
Multiple open source licenses exist (GPL,BSD, NPL).
Notes: Note that an Open Source license does not necessarily have to require that all modifications to a program remain open source. The GNU Public License does (under which Linux and many programs bundled with Linux distributions fall), but other open source licenses such as the Berkeley (BSD) license do not.
The XFree86 distribution (X Windows) commonly used on Linux uses the BSD license, and there are several vendors ship proprietary enhancements to it. This allows them to support video hardware they otherwise could not because the hardware specifications are available only under non-disclosure agreement (NDA).

## Slide 6: Rapid Growth
Over 12 million estimated users today
31% of Web, ftp, and news servers according to Internet OS Counter
Articles appearing in mainstream IT press every week
International Data Corp. statistics
  17% of operating system server market
  Linux commercial shipments expected to grow at 25% for next four years
Notes: Past IDC reports concerning Linux can be found at idc.com
The Internet OS Counter collects statistics on operating system usage of Web and FTP server on the Internet. It can be found at leb.net/hzo/ioscount
As of April 1999, Linux is the number one OS for Web/FTP servers at 31%, followed by Windows NT/95 at 24% and Solaris at 16%. The Linux Weekly News (lwn.net) does a good job summarizing Linux-related press each week.

## Slide 7: Comparison with Microsoft Windows
Strengths
  Stability, modularity
  Free (as in freedom, “open source”, user-extensible)
  Low-cost
  Remote administration
  Remote display capability built-in
  Consumes less resources; works on lower-end hardware
  Multi-platform
Notes: Linux very rarely crashes and doesn’t need to reboot when software (even drivers) is installed.
Linux can be obtained at low cost, free of licensing agreements and royalties. However, it may require more expertise to set up and administer, so there is a tradeoff here which may bring the total cost of ownership closer to Windows.
Like other UNIX variants, Linux’s ability to operate without a GUI and to display windows remotely makes remote access and administration more convenient.
Linux can run on older hardware. A 486/33 with 8 MB memory can be turned into a serviceable router or firewall, for example. A Pentium 100 with 32MB memory would be a reasonable desktop Linux system.
Linux is available on a wide number of architectures, including x86, PowerPC, Sparc, 680x0, Alpha, MIPS, and Strong-Arm.

## Slide 8: Comparison with Microsoft Windows
Weaknesses
  Higher learning curve
  Less mature GUI
  Multiple competing distributions
  Poor multimedia support
  Less applications available
  Less hardware support
  Fewer support options (consultants, etc.)
Notes: Depending on your hardware setup, Linux can be more difficult to install than Windows. While there are desktop GUI projects (KDE, GNOME) that are making reasonable progress, they are less mature than Windows and it is not uncommon to have to resort to command line interfaces to perform tasks.
Multiple Linux distributions may be confusing to end-users and cause software configuration/installation difficulties for developers.
Linux has much less complete support for multimedia formats and devices such as DVD players. Only a few commercial companies in this area support Linux, and patented/proprietary algorithms and data formats hinder open source development of multimedia drivers and applications.
While the number of productivity applications for Linux is growing, it is still nowhere close to the volume of apps available for the Win32 platform.
There are fewer support options available for Linux. The commercial infrastructure to support setup and maintenance of Linux systems is relatively new.

## Slide 9: LabVIEW for Linux Features
Feature-compatible with LabVIEW for Solaris
Multi-threaded
CINs and external functions (shared libs/DLLs)
TCP/IP networking and VI server supported
Supports Serial, VISA, and GPIB Instruments
DAQ support for E-series cards only
No ActiveX
Application Builder and Internet Toolkit available
Notes: LabVIEW for Linux/x86 is comparable in features to LabVIEW for Solaris or HP-UX. It supports TCP/IP and UDP networking, serial I/O, CINs and external function nodes (DLLs), and the VI server.
VI server support means it is easy to communicate between LabVIEW for Linux and LabVIEW for other platforms transparently.
LabVIEW for Linux is a multi-threaded application, and requires multi-threaded system libraries (glibc 2.1 or later). Most current distributions of Linux (Red Hat, Caldera, S.u.S.E., Debian) provide this by default.
NI-GPIB (beta), NI-ENET, and NI-VISA drivers are included with LabVIEW. Updates may be obtained from our FTP site at ftp://ftp.natinst.com/support/gpib/linux.
LabVIEW for Linux does not support Windows-only features such as Active X.

## Slide 10: NI Hardware Solutions
NI-GPIB
  AT-GPIB/TNT and PCI-GPIB cards
  GPIB-ENET
  No support planned for PCMCIA or PC-II
DAQ (E-DAQ)
  AT/PCI/PXI E-Series cards (PCI-MIO-16E, etc.)
  AT/PCI/PXI DIO-24/96 cards
  LabVIEW interface is a subset of NI-DAQ, but is not VI to VI compatible
Notes: The NI-GPIB driver is currently at version 0.6 (beta) and supports all AT-GPIB/TNT and PCI-GPIB cards, including plug-and-play cards, and provides the full NI488.2 interface, which can be called from LabVIEW for directly from C code.
This driver is built from a common source base with our Solaris, HP-UX, OSF1, and other UNIX drivers and should provide identical functionality.
The GPIB-ENET (user-level) driver is also built from a common source base as for other platforms and should provide identical functionality.
Both drivers include ibconf, ibic, and ibtsta utilities.
The E-DAQ driver is an early-beta stage open source driver supporting our E-series and DIO cards. It is not built on the same source base as NI-DAQ, but aims to have a useful subset of the features and provide a similar (although not identical) interface.

## Slide 11: Demo
LabVIEW 6i for Linux
NI-GPIB™
Linux E-DAQ

## Slide 12: Web Resources
  Starting points, general info
    Linux Online (linux.org)
    Linux International (li.org)
    The Linux Documentation Project (metalab.unc.edu/mdw/linux.html)
    The Linux Journal (linuxjournal.com)
    Linux HQ (Linux Kernel Information DB) (linuxhq.com)
    Linux Kernel Archive (ftp.us.kernel.org)
  News sites
    Linux Weekly News (lwn.net)
    Slashdot (slashdot.org)
Notes: A wealth of information about Linux is available on the Web.
The Linux Documentation Project is a large collection Linux-related information. It includes technical information about Linux for developers, numerous FAQ and HOWTO documents explaining how to perform various tasks under Linux, and information on what hardware is well-supported by Linux.

## Slide 13: Other Resources
Linux Vendors
  Red Hat Software
  Caldera
  S.u.S.E. Linux
  Debian
Computers with Linux pre-installed
  VA Research
  Penguin Computing
  Compaq, Dell, Hewlett-Packard
Notes: There are at least a dozen different distributions of Linux; some of the most common are listed here. There are also special distributions for non-Intel architectures, such as LinuxPPC for the Macintosh/PowerPC.
LabVIEW 5.1 for Linux works on RedHat 6.0 or later (and derived works), Caldera OpenLinux 1.3 or later, Debian 2.0 or later, and S.u.S.E. Linux 6.0 or later. It will not work on Slackware without glibc 2.1 support.
You may buy Linux pre-installed from vendors such as VA Research and Penguin Computing. Recently, several major computer vendors, including Compaq, Dell, HP, and SGI, have announced support for Linux.

## Slide 14: Questions?