## Slide 1: Noise Reduction Using Digital Filtering in LabVIEW™
Jim Nagle
DSP Software Engineer
Thurs Aug 17
10:15-11:30 a.m., 3:30-4:45 p.m.
Pecan (9B)

## Slide 2: Goals
When to use filtering to remove noise
Analog vs. digital
How to use digital filters in LabVIEW 6i

## Slide 3: Types of Noise
Thermal noise
Interference
  Power lines
  RF
Aliasing
Sampling noise
Broadband vs. narrowband
Stationary/non-stationary
Notes: Any discussion of filtering for noise reduction would be incomplete without some discussion of noise. Let’s start by defining some common types of noise.
Thermal noise – the random motion of atoms generates this random, uniformly distributed noise. Thermal Noise is present everywhere and has a nearly constant Power Spectral Density (PSD).
Interference – imposition of an unwanted signal from an external source on the signal of interest.
Aliasing – an artifact of the acquisition process, specifically sampling.
Sampling noise – Another artifact of the acquisition process, Sampling Noise occurs when you digitize a continuous signal with an A/D converter that has a finite number of steps. It is interesting to note that you can dither (add white noise) your signal to reduce the overall sampling noise.
Narrowband/broadband – two general categories of noise. Narrowband noise confines itself to a relatively small portion of the overall signal bandwidth as defined by Nyquist. Broadband noise occupies a significant portion of the Nyquist bandwidth. For example, 60-Hz hum is narrowband because it typically limits itself to a 60 Hz component at. Thermal noise is definitely broadband because its PSD is constant, meaning that it distributes its energy over nearly the entire spectrum.
Stationary/non-stationary – signals (noise or otherwise) with characteristics that are constant or change, respectively, as a function of time. An example of stationary noise is the 60Hz noise. Speech is a non-stationary signal.

## Slide 4: Analog vs. Digital
Stability over time
Design
Implementation
Overhead
Notes: Before discussing the details of digital filtering for noise reduction, let’s first compare digital filters to analog filters and the tradeoffs between the two. Analog filters operate on signals using analog components (active and/or passive) such as op-amps, capacitors, and resistors. Typically the input and output of such a filter is an analog signal. Digital filters consist of algorithms (commonly multiplications and additions) that operate on a digitized version of the signal. Further, it’s input and output are commonly digital.
Analog Frailties
With its analog components, analog filters are subject to analog frailties such as thermal drift, component tolerance, stability of the components over time, etc. Digital filters are less subject to such problems; they typically remain stable and don’t drift because they are software.
Flexibility
After design and implementation, analog filters commonly require significantly more effort to change than digital filters. For example, changing the cutoff frequency of an analog filter will often require a component change. Architectures such as switched capacitor are somewhat more flexible—they allow change in the cutoff frequency, but often remain of fixed order and topology. A digital filter is extremely flexible, allowing changes to any aspect of the filter. The analog filter does have an advantage in terms of processing overhead. An analog filter does not require any computation, whereas a digital filter is implemented as machine code and requires a non-zero amount of time to calculate output samples.
Anti-Aliasing
Analog filters can perform anti-aliasing, whereas digital filters may not. More on that later.

## Slide 5: Noise Sources
Line/power (50/60 Hz hum)
RF
Rotating machinery
Magnetic
Harmonic
Aliasing
Notes: The source of noise determines its characteristics.

## Slide 6: Digital Filtering Assumptions
Stationary signal
Separable in frequency domain
Notes: Application of a digital filter can require a few assumptions. First, we generally assume that the input signal is stationary.
Perhaps more importantly, we assume that we can separate the desired signal and the noise in the frequency domain. That is, we assume that we can apply a frequency domain mask that blocks noise components and doesn’t effect the signal of interest. The graph above shows a 1V, 100 Hz sinewave with a 0.1V, 60Hz sinewave. The white line is the mask (filter characteristic) that could be used to separate the components.

## Slide 7: What Noise Can We Remove?
Frequency separable
  Line/Power
  Rotating machinery
  Harmonic
  Discrete RF
Zero mean broadband
  Narrowband signal
  Imperfect
Notes: You can apply a filter to frequency-separable noise.
Also, if the noise is is broadband, and the signal is narrowband, you can filter most noise.
If both signal and noise are broadband, then it is difficult (but not impossible) to reduce noise with a digital filter. In this case, you might consider other techniques such as averaging or a wavelet filter bank for the job.

## Slide 8: Noise Removal Steps (Part 1)
Step one – Analyze the noisy signal
  View amplitude spectrum
  Stationary? Separable?
Step two – Use your knowledge of the measurement
  Frequency domain (spectrum, power, phase, etc)
  Time domain (DC/RMS, slope, rise-time, etc)
  Signal model? (sine, square, and parabola)
Notes: Step 1 – Analyze the noisy signal
A look at the Amplitude spectrum of the signal can indicate whether the signal and noise frequency separable. To determine if the signal is stationary, you can apply Joint Time-Frequency Analysis such as the Short Time Fourier Transform (STFT) or wavelets. The signal+noise should be stationary (relatively constant) over the course of the measurement.
Step 2 – Use your knowledge of the measurement
For example, DC-RMS measurements commonly include a 60Hz hum, which you can often band-pass filter. With broadband noise, an approach that removes uncorrelated signals from multiple records (Vector averaging of triggered time records) may be more appropriate. If you know a model of the signal and that signal has broadband noise, then you might apply curve fitting or model-based (Super-resolution) spectral analysis. The bottom line is that you should have some idea about the signal of interest (model) and/or the noise.

## Slide 9: Noise Removal Steps (Part 2)
Step three – Try a design, iterate until satisfied
Step four– Implement your design
Notes: Step 3 – Try a design
After examining your signal and taking a pass at filter design, you’ll next want to try out a design. A trial involves a preliminary implementation and a characterization. You will likely have some gauges for what is acceptable. For instance, you might need a minimum signal-to-noise (SNR) ratio. Other possible gauges include […]

## Slide 10: Frequency Separable
Digital filter
Choose filter parameters
  Cut-off frequencies
  Topology
  Example
Notes: Digital filters are applicable to frequency-separable noise. Designing a digital filter involves consideration of a number of tradeoffs. For example, visualization or phase measurements can often require a digital filter with linear phase characteristics, but might be unnecessary for some types of power measurements.

## Slide 11: A Practical Application
Let’s consider a practical application of digital filtering for noise reduction
Notes: What we have discussed should give you somewhat of an overview of the situation. Let’s next consider a simple (but practical) application of noise reduction. We will work through each of the steps from initial signal analysis to filter design and testing.

## Slide 12: Infinite Impulse Response Filter Design
Topology
Cut-off(s)
Type
Sampling frequency
Notes: In general, Infinite Impulse Response (IIR) filters are less computationally intensive than Finite Impulse Response (FIR) filters. The downside is that they do not have linear phase response.

## Slide 13: Finite Impulse Response Filter Design
Topology
Cut-off(s)
Type
Sampling frequency
Notes: Finite Impulse Response (FIR) filters offer a linear phase response and are typically easier to design than their IIR counterparts.

## Slide 14: Non-Linear Approaches
Median filtering
Wavelets
JTFA

## Slide 15: Conclusions
Digital filter where appropriate
  Frequency separable
  Stationary
  Not anti-aliasing
LabVIEW makes this easy to do